One-Dimensional Semi-Mechanistic Model for Flow Boiling Pressure Drop

in Small- to Micro- Passages

Dereje Shiferaw 1, Mohamed Mahmoud 2, Tassos G. Karayiannis 2, David B. R. Kenning 2

1 Heatric Division of Meggitt (UK) Limited, 46 Holton Road, Holton Heath, Poole, Dorset, BH16 6LT

2 School of Engineering and Design, Brunel University, Uxbridge, UB8 3PH, UK

Address correspondence to Dr D. Shiferaw, Heatric Division of Meggitt (UK) Limited, 46 Holton Road, Holton Heath, Poole, Dorset, BH16 6LT

Email: dereje.shiferaw@meggitt.com

Phone Number:  +44 (0) 1202627407

ABSTRACT

Accurate predictions of two-phase pressure drop in small to micro diameter passages are necessary for the design of compact and ultra-compact heat exchangers which find wide application in process and refrigeration industries and in cooling of electronics. A semi-mechanistic model of boiling two-phase pressure drop in the confined bubble regime is formulated, following the three-zone approach for heat transfer. The total pressure drop is calculated by time-averaging the pressure drops for single-phase liquid, elongated bubble with a thin liquid film and single-phase vapour. The model results were compared with experimental data collected for a wide range of diameter tubes (4.26, 2.88, 2.02, 1.1 and 0.52 mm) for R134a at pressures of 6 – 12 bar. In its present form, the predictions of the model are close to those of the homogeneous flow model but it provides a platform for further development.

INTRODUCTION

Miniaturization of power and refrigeration systems requires the transfer of high heat fluxes at low temperature differences (high heat transfer coefficients) to achieve efficient use of energy. However, although it is generally recognized that heat transfer coefficients can be higher for flow boiling in mini- and micro-channels than in conventional channels, the reduction in cross-section is limited by the increase in pressure drop and the pumping power required to drive the flow. Therefore, accurate prediction of pressure drop is critical for design and optimization of these devices. Many studies have confirmed that the two phase total pressure drop in small and micro tubes increases with decreasing internal tube diameter, Tong et al. [1], Huo et al. [2], Revellin and Thome [3].

Widely used classical models are based on homogenous flow, separated flow and annular two phase flow models. These have been extended to microchannel flow boiling by modifying coefficients to fit experimental data. Generally, they do not take account of the new features of boiling phenomena in small and micro scale thermal systems. On the other hand, there is very limited number of theoretical models that are based on the flow regimes predominantly observed in small to micro passages. It is now highly desirable to develop mechanistic models that are based on flow boiling regimes in small to micro-channels and are well validated by experiments.

A number of studies have reported that there is a clear effect of decreasing tube diameter on flow patterns and their transition boundaries, (Damianides and Westwater [4], Coleman and Garimella [5], Zhao and Bi [6], Chen et al. [7], Kawahara et al. [8] and Revellin and Thome [3]). These include but are not limited to the absence of stratified flow in horizontal channels, diminishing of churn flow and the appearance of additional flow patterns that are not common in normal tubes. These have been mainly attributed to the predominance of surface tension force over gravity. Chen et al. [7] studied the effect of tube diameter on flow pattern transition boundaries for R134a in tubes of 4.26 - 1.1 mm diameter and showed that the slug/churn and churn/annular transition lines shifted towards higher quality as the tube diameter decreased. They also indicated that the slug (periodic) flow regime can exist up to a quality range as high as 0.5 especially at low mass flux values. These deviations from the conventional understanding raise doubt about the applicability of design methods based on empirical correlations of boiling data in large channels and suggest the necessity for new methods based on flow regimes. Garimella [9] developed a flow regime based model for pressure drop during condensation of refrigerants inside round, square and rectangular passages of hydraulic diameter in the range of 1- 5 mm. Comparison of their model with experiments indicated that flow regime based models yield significantly better pressure drop predictions than traditional empirical correlations, which are primarily based on air-water mixtures in large diameter tubes. Mechanistic modeling of heat transfer and pressure drop may be more successful for flow boiling in small- to micro- diameter tubes than for large tubes for a number of reasons. For instance, most flow visualization studies report the absence or diminishing of dispersed bubble and churn flows and better - defined liquid/film interfaces as the tube diameter decreases. In addition, flow regimes in small diameter tubes (4.26 -1.1 mm) at low vapour quality (x < 0.3 - 0.5) are dominated by slug flow regime, mostly without trails of small bubbles in the bubble tails. At high quality, annular flow regime is expected. However, beyond a quality of about 0.4 - 0.5 transient dryout is deduced from the heat transfer measurements in many studies. Therefore, a model based on the periodic flow of bubble slugs is likely to be a reasonable approach to the prediction of heat transfer and pressure drop. The one-dimensional model for pressure drop in slug flow presented here follows the approach of the three-zone evaporation model developed by Thome et al. [10] for predicting flow boiling heat transfer. The results are compared with experimental data collected using R134a for five stainless steel tubes of internal diameter 4.26, 2.08, 2.01, 1.1 and 0.52 mm. Other parameters were varied in the ranges mass flux 100 – 500 kg/m2s, pressure 6 – 12 bar, quality up to 0.9, heat flux 13 - 150 kW/m2.

THOME 3–ZONE HEAT TRANSFER MODEL

Assumptions

The assumptions in the Thome et al. [10] model are given in detail here because they are the basis for the subsequent pressure drop model:

- Confined-bubble flow, sequence: liquid, vapour + evaporating film, vapour only.

- Fluctuation period tb set by the nucleation period at a single upstream site.

This period is not determined by experimental observation but by modifying a correlation based on pool boiling to optimise the fit of the complete heat transfer model to a large data base for heat transfer coefficients for a range of fluids and conditions:

tb=3328q1.74pcritp0.87				(1)

The dimensional nature of this correlation indicates that further development of the model is required.

- Negligible film thickness  compared to channel cross-section dimensions, δ<<D.

- Negligible transport of liquid by motion of the film (following from 3).

- Negligible effect on flow area for vapour (also following from 3).

- Homogeneous flow. A liquid slug and the head of the bubble immediately behind it have the same velocity, the “pair velocity” Up, given by

Up=Gxρv+1−xρl				(2)

and the residence times of alternating liquid tland vapour (with and without liquid film) tvduring a cycle of period tb are given by

tltb=11+ρlρvx1−x   ,  tvtb=11+ρvρl1−xx				(3)

where x(z) is the local time-averaged mass fraction of vapour at axial distance z.

7.	Thermal equilibrium between phases, so that x may be calculated from a time-averaged enthalpy balance for a specified heat input per length of channel with all phases at the local saturation temperature.

8.	The initial liquid film thickness of formation 0 (z) is calculated from an empirical correlation 0/D = F(Bo) given by Moriyama and Inoue [11], corrected by a factor equal to 0.29 by Dupont et al. [12]:

δ0D=0.29 νlUpD0.280.07Bo0.41−8+0.1−8−1/8 		(4)

where the Bond number Bo is defined by

Bo=ρlDUp2/σ					(5)

This is the only feature of the model that involves surface tension  , which is generally assumed to be the dominant influence on the progression from small to mini- to micro-channels.

9.	After formation, the film is assumed to be stationary relative to the wall. Its thickness  (t) decreases by evaporation and therefore depends on the model for heat transfer. The Thome et al. [10] model assumes constant, uniform heat flux q from the wall to whatever fluid is in contact with it (liquid, liquid film, vapour). For liquid and vapour, the bulk temperature is assumed to be Tsat (p), where p is the time-averaged pressure, and heat transfer coefficients are obtained from conventional correlations for fully-developed flow with Up (z) as the bulk velocity, despite the possibly short lengths of slugs and bubbles and consequent internal circulation patterns. The assumptions for heat transfer through the film are steady conduction with the liquid-vapour interface at Tsat (p). The film thickness at time t after formation is then

δ=δ0−qt/ρlhlv					(6)

The film is assumed to break up at a minimum thickness  min, the value being chosen to optimise the fit of the entire heat transfer model to a database. A more physically based choice may be of the order of the wall roughness, Thome et al. [10], Shiferaw et al. [13]. The evaporation time te is given by

te=δ0−δminρlhlv/q				(7)

If te<tv ,there is a period of vapour-only flow equal tote−tv.

If te>tv ,the film evaporates to a thickness at the end of the bubble given by

δend=δ0−qtv/ρlhlv				(8)

It is assumed that survival of the film has no influence on conditions in the following liquid slug.

The equations for change in film thickness would be modified if a different heat transfer model were used, e.g. transient conduction in a film on a wall of finite thickness.

Comments on Heat Transfer Model

The assumption of homogeneous time-averaged flow is central to the Thome et al. [10] heat transfer model, leading to a relatively straightforward approach to predicting time-averaged wall temperature for a constant wall heat flux without the need to track the development of individual bubbles. Consequently local fluctuations in pressure or velocity are not modelled and only the time-averaged homogeneous velocity Up (z) can be used for the bulk phase velocities and other inputs to the local mechanistic models such as liquid film thickness.

During the time fractions corresponding to single phase liquid or vapour flow, the heat transfer coefficients l ,v  are calculated from correlations for fully developed flow using Up (z) and the relevant single phase properties. In film flow, the heat transfer coefficient is estimated for conduction through the mean film thickness m :

αf=2klδ0+δmin    or     αf=2klδ0+δend    		(9)

Time-averaging wall temperature with constant wall heat flux is equivalent to calculating the time-averaged heat transfer coefficient  (z) from

1α=1αltltb+1αftetb+1αvtv−tetb				(10)

This mechanistic method replaces in the homogeneous model the calculation of  from a single-phase convective correlation of the form Nu = f (Re, Pr), using expressions for homogeneous properties such as

ch=xcv+1−xcl				(11)

1kh=xkv+1−xkl					(12)

1ρh=xρv+1−xρl 				(13)

- 1μh=xμv+1−xμl   		or

- μh=xμv=1−xμl   				(14)

For liquid and vapour slugs of finite length, the homogeneous flow assumption is an approximation and the assumption of local thermal equilibrium between phases leads to inconsistencies. There can be no superheating of the liquid or vapour so the enthalpy of the thin film must be negligible and all the heat transferred to the liquid and vapour phases in the absence of a thin film must somehow be transferred by internal mixing to a liquid-vapour interface to cause evaporation.

PRESSURE DROP MODEL

Applying this approach to the prediction of pressure drop, a direct consequence of the homogeneous flow and local thermal equilibrium assumptions is that the time averaged gravitational and acceleration contributions to the pressure gradient may be calculated from the axial distribution of heat input and Eq. (13). For uniform heat flux, vertical upward flow in a circular tube

x=4qGhlvzD,	dpgravdz=−ρhg=−ρlg1+4qvlvDGhlvvlz,	dpaccdz= −GdUpdz=−4GqvlvDhlv	(15)

The time-averaged wall shear stress and frictional pressure gradient are calculated by time-sharing between estimates for the liquid-only, vapour + liquid film and vapour-only regimes:

τw=τltltb+τftetb+τvtv−tetb,		dpfricdz=−4τwD		(16)

The total time-averaged pressure gradient is the sum of the three time-averaged contributions:

dpdz=dpgravdz+dpaccdz+dpfricdz				(17)

For the single-phase regimes, the Thome et al. [10] approach of using correlations for heat transfer in fully-developed flow based on the local homogeneous velocity UP is applied to the estimation of the friction coefficients, with the same reservations noted in the previous section. In the examples given later in this paper, the Reynolds number calculated from the homogeneous velocity and the single phase properties is always greater than 2000 except for the 0.52 mm diameter tube. For this tube, Reynolds number based on single phase vapour properties is less than 2000 especially at low vapour qualities. So standard correlations such as the Blasius equation for fully-developed turbulent and 16/Re for laminar flow are used:

τi=0.0791Re14ρUp22 turbulent,		Re=ρUpDμ			(18)

where ρ, μ are for liquid-only or vapour-only.

The presence of a thin evaporating liquid film during interval te may have three hydrodynamic consequences.

(i) The flow area for the vapour flow is reduced. In the simple approach presented here, this effect is neglected, consistent with assumptions 3 and 4 in the Thome model that δ << D. (There may be circumstances in which this condition is not valid, which should be checked with Eq. (4)). The bulk velocity in the vapour is then equal to the velocity of the vapour without a film, assumed to be Up.

(ii) Instabilities at the liquid-vapour interface may increase its effective roughness, an effect that is known to be important in large channels. For now, it is assumed that the interface remains smooth.

(iii) Motion of the liquid film with an interfacial velocity of Ui reduces the velocity for calculation of the interfacial shear stress i exerted by the vapour to (Up – ui). Eq.(18) becomes

τi=0.0791Re14ρvUp−ui22 turbulent,	Re=ρvUp−uiD μv	      (19)

This effect is estimated by an approximate model that does not attempt to follow the nonlinear reduction in film thickness with time. Instead, quasi-steady, parallel flow is assumed in a film of constant and uniform thickness m equal to the average of the initial thickness 0 and the final thickness min or end, as calculated by the methods in the heat transfer model.

In a vertical tube, the film is subjected to the same total pressure gradient dp/dz as the adjacent gas phase, a gravitational body force ρl g, a wall shear stress f  and an interfacial shear stress i , Fig. 1. Consistent with the steady-flow approximation, the changes in momentum of the film are assumed negligible. For a planar approximation consistent withδm<<1, the velocity distribution for laminar flow in the film is given by

u=τiμly+dpdz+ρlgy μly2−δm			(20)

ui=τiμlδm−dpdz+ρlgδm22μl 				(21)

and	τf=τi−dpdz+ρlgδm					(22)

The pressure gradient in the vapour during the thin-film period is not equal to the time-averaged pressure gradient and is given by

dpdz=dpgravdz+dpaccdz+dpfricdz=−ρvg+UpdUPdz−4τiD1−δmD−ρVg+UpdUpdz−4τiD	(23)

The wall shear stress f (z) is obtained by simultaneous solution of Eqs. (19, 21-23) with inputs Up(z), dUp/dz(z) and a. The time-averaged wall shear stress and frictional pressure gradient are calculated from Eq. (16). This semi-mechanistic estimate replaces the fully homogeneous flow calculation, in which equivalent fluid properties are employed in Eq. (18). As noted above, the time-averaged gravitational and acceleration components of the pressure gradient are still calculated from the homogeneous flow model.

RANGE OF VALIDITY OF MODEL

A mechanistic model for confined-bubble flow should not be applied to any other flow regime but the model does not define its own limits. The assumption of phase equilibrium implies that the single nucleation site coincides with x = 0 and that a bubble of negligible length instantly fills the channel. The wall superheat required for nucleation and the motion of bubbles before confinement are not considered.

The assumption that the transport of liquid in the film is negligible implies that the liquid plug between confined bubbles remains until x = 1. The mean velocity in the film is given by

u=τi2μlδm−dpdz+ρlgδm23μl			(24)

A sufficient condition for the disappearance of the liquid slug is that the liquid film transports the entire liquid flow corresponding to the value of x based on thermal equilibrium:

ρluδmtetb=DG 1−x4				(25)

but the regime of confined bubbles with smooth laminar films may well break down at smaller values of x due to wave formation on the films or instability of the ends of the liquid plug between bubbles.

Thome et al. [10] used a large data base to optimize the three key parameters in the 3-zone heat transfer model, namely bubble frequency (1/tb), initial film thickness (δ0) and minimum film thickness (δmin). Accordingly, the range of parameters of application for the current three- zone pressure drop model is the same as given by Dupont et al. [12]. Since the current 3-zone pressure drop model uses the same parameters as the 3-zone heat transfer model. Table 1 shows the range of parameters of application for the 3-zone model as well as the range of our experimental parameters, which are within the 3-zone model ranges.

COMPARISON WITH DATA FOR R134a

Experimental Conditions

Pressure differences across small channels are usually measured from plenum to plenum, so they include inlet and entry losses. Pressure measurements are rarely made at intermediate stations. Wen and Kenning [14] found that the greatest variability in pressure drop occurred in the section in which boiling was initiated. The data for R134a used in this paper were obtained in thin-walled tubes directly heated by alternating current except those of the 0.52 mm tube where DC current was used, with pressure tappings and bulk temperature thermocouples incorporated in the inlet and outlet electrodes. These were joined to adiabatic sections with internal diameter exactly matching the test section, so that there were no pressure losses associated with inlet and outlet plena. A correction was calculated for fully-developed liquid flow over the short distance from the inlet pressure tapping to the calculated point x = 0, since the actual point of first nucleation could not be observed. Inlet subcooling was small. No correction was applied for the very short length of adiabatic two-phase flow in the outlet electrode. The exit flow patterns were recorded by high-speed video in the transparent adiabatic section. The estimate of the maximum absolute error in the measured pressure drop is ± 70 Pa. The details of the experimental facility can be found in Chen et al. [7].

Comparisons of Homogeneous Flow and 3-Zone Models with Data

As stated above, the model is based on the assumption that the dominant flow pattern is slug flow with smooth vapour-liquid interfaces. The flow pattern studies of Chen et al. [7] indicated that the prevailing flow regime in small diameter tubes is slug flow up to a quality as high as 0.5. Furthermore, there was a progression towards thinner, smoother liquid films and stable ends of the slugs as the tube diameter was reduced to 2.01 mm and further to 1.10 mm for R134a at pressures of 6 – 12 bar. An example is presented in Figure 2 of the total two phase pressure drop in 2.01 and 1.1 mm tubes as a function of exit quality, which for a fixed length depends on the applied heat flux, compared to the current 3-zone and homogeneous pressure drop models at 8 bar pressure and mass flux values of 300 and 400 kg/m2s. The differences between the 3-zone and homogeneous flow models are very small. This is because the 3-zone model is based in part on the assumption of homogeneous flow and because, for these particular conditions, the liquid film is too thin to greatly affect the pressure drop across a bubble. The two pressure drop models have correctly predicted the trend of the pressure drop with exit quality up toxe=0.6. Up to this quality, the mean absolute error between the measured and predicted values in Fig. 2 is about 13 % except at G = 300 kg/m2 s and D = 2.01 mm where the mean absolute error was about 20 %. In the current calculations, 0.3 μm was used as a value for the end film thickness (δend) as proposed by Dupont et al. [12] in the heat transfer 3-zone model. The models failed to predict the reduction in pressure drop at higher exit qualities likely to be in the annular flow regime, in which the assumption of homogeneous flow is no longer valid and/or dryout possibly occurs. In the absence of a validated criterion for the end of the slug flow regime, only data for x < 0.6 are used in the following global comparisons of the semi-mechanistic model, the homogeneous model and the experimental data.

Figure 3 depicts the global comparison of the 3-zone pressure drop model and the present experimental data for R134a in the ranges mass flux 100 – 500 kg/m2s, pressure 6 – 12 bar, quality up to 0.6, heat flux 13 - 150 kW/m2. As seen in the figure, the experimental data are predicted fairly well; most of the data from all the tubes lie within 30%. The scattering observed in the two larger tubes (4.26 and 2.88 mm) could be related to the fact that in these tubes churn flow, which has a different liquid-film interface than that assumed in the model, was observed for a wider range of quality. In addition, there is a bias in the 4.26 mm tube from over to underprediction as the pressure drop increases. There is also scatter for the 2.01 mm and 1.1 mm tubes, despite the relatively frequent appearance of slug flow with a nearly smooth film interface, which is the basis of the model. In Figure 3e, the smallest tube (0.52 mm) results are also reasonably predicted, particularly in the very small pressure drop region. This region represents the very small exit quality below which the flow pattern is elongated bubble with short lengths and relatively smooth interface which approximates to the assumptions of the model. Beyond this quality, the bubble becomes very long with a pattern which has the characteristics of annular flow, without the partial dry out indicated by the reduction in heat transfer coefficient observed in the larger tubes. Hence, the decrease in pressure drop after x = 0.6 observed in Figure 2 does not appear with the 0.52 mm tube. In other words, the high values of pressure drop in Figure 3e correspond to high exit quality regimes without dry out. This may explain the tendency of the model to under-predict the experimental values for the smallest tube in the high pressure drop region, i.e. at high exit quality.

Generally, the 3-zone pressure drop model works reasonably well when slug flow with a relatively smooth interface is expected. However, it requires further work, particularly in finding a better assumption for film thickness, incorporating the effect of film thickness on local pressure drop and considering film waviness. Overall, the preliminary one-dimensional model has predicted the pressure drop data with a Mean Absolute Error (MAE) of 23, 20, 16.8, 16.3 and 22 % for the 4.26, 2.88, 2.01, 1.1 and 0.52 mm tubes respectively. The percentages of the data within  30 % are 71.8, 76.5, 89.8, 87.7 and 67.2 % respectively.

Figure 4 depicts the global comparison of the 3-zone pressure drop model and the homogeneous model for P = 8 – 12 bar, G = 100 – 500 kg/m2 s, x < 0.6 for D = 2.01 and 4.26 mm as an example. The figure shows that, the 3-zone pressure drop model results in values which are somewhat higher than those predicted by the homogeneous model. The mean absolute difference between the 3-zone model and the homogeneous model was found to be 12.9 % and 15.1 % for the 4.26 and 2.01 mm tubes respectively. It is not clear from this figure which model is better but as it is previously explained in Figure 2 the difference between the homogeneous model and 3-zone model is very small.

The 3-zone heat transfer model is sensitive to the assumptions regarding bubble frequency, initial film thickness, minimum stable thickness and laminar film flow because they all affect the length over which the film provides high heat transfer prior to dryout. Figure 5 shows comparison of the frictional pressure drop with and without the presence of the thin liquid film around the bubble with average film thickness,δm. The result indicates that for the consistent (but not always valid) assumptions in the model, the presence of a smooth film has negligible effect on the wall shear stress. Overall, with the present assumptions (thin laminar film, smooth interface), the pressure drop is insensitive to the presence or absence of the thin film because the frictional pressure drop in the film + vapour region is nearly the same as in the vapour-only region. This may explain the generally good agreement with the homogeneous flow pressure drop. On the other hand, the length and thickness of a film may have a much greater effect if its interface is wavy. Figure 6 demonstrates the effect of film with wavy interface by arbitrarily increasing the friction coefficient f in Eq. (19) for a rough liquid film. This also could explain the fact that the 0.52 mm data was underpredicted in Figure 3e, in which flow patterns observed at the exit of the test tube indicated the occurrence of wavy film interfaces with relatively short wave length, Shiferaw et al. [15], Karayiannis et al. [16]. Likewise, the reduction in pressure drop during the occurrence of dryout could be attributed to the decrease in shear stress due to the absence of film waves. One of the advantages of the present simple semi-mechanistic model is that it can be used to explore the importance of waves and Figure 6 is s a good indicator that future model extensions should include the development of waves in the liquid film.

CONCLUSIONS

A new three-zone pressure drop model for slug flow regime with an assumption of smooth liquid film interface was developed. The model development followed a similar approach as the three-zone heat transfer model of Thome et al. [10]. During confined bubble flow, the pressure gradient was obtained using a three zone model that included parallel flow of a liquid film and a vapour core up to the dryout point in each bubble. The model has the capability of predicting the pressure drop data for R134a with Mean Absolute Error (MAE) of 23, 20, 16.8, 16.3 and 22 % for the 4.26, 2.88, 2.01, 1.1 and 0.52 mm tubes respectively. However, there are features that require further study. These include a better theoretical model for predicting the initial film thickness during slug flow, considering the additional effects of coalescence and film waviness on heat transfer and determination of the model’s validity range so that it can include annular flow regime once the liquid slugs vanish. For example, in the smallest tube (0.52 mm), the dominant flow pattern was annular flow with unstable film interface. The model is developed with an assumption of a smooth film interface, a condition which can be achieved only at very low quality range. To extend the model’s applicability by predicting transition to annular flow, it will be necessary to consider the transport of liquid by thick films. Also, the effect of film waviness is shown to have a major effect on pressure drop and should be considered in future developments. These improvements to the pressure drop model would also apply to the heat transfer model.

NOMENCLATURE

| Bo | Bond number, see Eq. (5) |
| --- | --- |
| C | Specific heat capacity |
| D | internal diameter, m |
| g | gravitational acceleration, m/s2 |
| G | mass flux, kg/m² s |
| hlv | latent heat of vaporization, J/kg |
| k | Thermal conductivity, W/m K |
| L | length, m |
| Nu | Nusselt number |
| P | pressure, bar |
| Pr | Prandtl number |
| q | heat flux, W/m² |
| t | time ,sec |
| tb | pair period, sec |
| T | Temperature, K |
| Re | Reynolds number, see Eqs. (18, 19) |
| U | velocity, m/sec |
| x | vapour quality |
| y | transverse distance |
| z | axial distance |
| Greek Symbols |  |
| α | Heat transfer coefficient, W/m2 K |
|  | liquid film thickness, m |
|  | Change |
|  | dynamic viscosity, kg/m s |
|  | density, kg/m³ |
|  | surface tension, N/m |
|  | shear stress (N/m2) |
| Subscripts |  |
| acc | Accelerational |
| crit | Critical |
| e | Evaporation |
| end | end of the liquid film |
| f | liquid film between bubble and wall |
| fric | Frictional |
| grav | Gravitational |
| h | Homogeneous |
| i | Interface |
| l | Liquid |
| ls | liquid slug |
| m | Mean |
| min | Minimum |
| p | Pair |
| ref | Reference |
| v | Vapour |
| 0 | Initial |
| w | Wall |

REFERENCES

[1] Tong, W., Bergles, A.E. and Jensen, M.K., Pressure drop with highly subcooled flow boiling in small-diameter tubes, Experimental Thermal and Fluid Science, vol. 15, pp.202–212, 1997.

[2] Huo, X., Tian, Y.S. and Karayiannis, T.G., R134a flow boiling heat transfer in small diameter tubes. Advances in Compact Heat Exchangers, R. T. Edwards, Inc., pp.95 -111, 2007.

[3] Revellin, R. and Thome, J. R., Adiabatic two-phase frictional pressure drops in microchannels. Experimental Thermal Fluid Science, vol. 31, no.7, pp.673-685, 2007.

[4] Damianides, C.A. and Westwater, J.W., Two-phase flow patterns in a compact heat exchanger and in small tubes. In Second UK National Conference on Heat Transfer, vol. 11, pp.1257-1268, 1988.

[5] Coleman, J.W. and Garimella, S., Characterization of two-phase flow patterns in small diameter round and rectangular tubes. International Journal of Heat and Mass Transfer, vol. 42, pp.2869-2881, 1999.

[6] Zhao, T.S. and Bi, Q.C., Co-current air-water two-phase flow patterns in vertical triangular microchannels, International Journal of Multiphase Flow, vol. 27, pp.765-782, 2001.

[7] Chen, L., Tian, Y.S. and Karayiannis, T.G., The effect of tube diameter on vertical two-phase flow regimes in small tubes. International Journal Heat Mass Transfer, vol. 49, pp. 4220-4230, 2006.

[8] Kawahara, A., Chung, P.M-Y. and Kawaji, M, Investigation of two-phase flow patterns, void fraction and pressure drop in a micro-channel. International Journal Multiphase Flow, vol. 28, no.9, pp.1411–1435, 2002.

[9] Garimella, S. Condensation flow mechanisms in micro-channels: Basis for pressure drop and heat transfer models. Heat Transfer Engineering, vol. 25, no.3, pp.104 – 116, 2004.

[10] Thome, J.R., Dupont, V. and Jacobi, A.M., Heat transfer model for evaporation in microchannels, Part I: presentation of the model. International Journal Heat Mass Transfer, vol. 47, pp.3375-3385, 2004.

[11] Moriyama, K., and Inoue, A., Thickness of the liquid film formed by a growing bubble in a narrow gap between two horizontal plates. Journal Heat Transfer, vol. 118, pp.132-139, 1996.

[12] Dupont, V., Thome, J.R., and Jacobi, A.M., Heat transfer model for evaporation in microchannels, Part II: comparison with the database, International Journal Heat Mass Transfer, vol. 47, pp.3387-3401, 2004.

[13] Shiferaw, D., Huo, X., Karayiannis, T.G. and Kenning, D.B.R., Examination of heat transfer correlations and a model for flow boiling of R134a in small diameter tubes, International Journal Heat Mass Transfer, vol. 50, pp.5177-5193, 2007.

[14] Wen, D.S. and Kenning, D.B.R., Two phase pressure drop of water during flow boiling in a vertical narrow channel. Experimental thermal and Fluid science, vol. 28, no. (2-3), pp.131 – 138, 2004.

[15] Shiferaw, D., Mahmoud, M.M., Karayiannis, T.G. and Kenning, D.B.R., Experimental flow boiling study in a 0.52 mm diameter vertical tube using R134a, 5th  European Thermal-Sciences Conference , Eindhoven, 18-22 May 2008.

[16] Karayiannis, T.G., Shiferaw, D., Kenning, D.B.R. and Wadekar, V.V., Flow patterns and heat transfer in small to micro diameter tubes, Heat Transfer Engineering, vol. 31, no.4, pp. 257-275, 2010.

Table 1 The range of parameters of application of the 3-zone heat transfer and pressure drop models as well as the current experimental range.

| Parameter | Range |  |
| --- | --- | --- |
|  | 3-zone model | Current experiments |
| Fluid | R11 – R12 – R113 – R123 R134a – R141b – CO2 | R134a |
| D, [mm] | 0.77 – 3.1 | 0.52 – 4.26 |
| G, [kg/m2 s] | 50 – 564 | 100 – 500 |
| P, [kpa] | 124 – 5766 | 600 – 1200 |
| q, [kW/m2] | 5 – 178 | 13 – 150 |
| x, [-] | 0.01 – 0.99 | Up to 0.9 |
| Re*, [-] | 323 - 3940 | 256 – 14324 |

* Reynolds number is not given in Dupont et al. [12] paper but it is calculated based on the given data.

List of Figures

Fig. 1. Thin film model.

Fig. 2. Total pressure drop as a function of exit quality as predicted by 3-zone and homogeneous pressure drop models at 8 bar; (a) D = 2.01 mm, (b) D = 1.1 mm.

Fig. 3. Comparison of current pressure drop model with data for the different tube diameters at x < 0.6: (a) 4.26 mm, (b) 2.88 mm, (c) 2.01 mm, (d) 1.1 mm and (e) 0.52 mm.

Fig. 4. The three zone pressure drop model versus the homogeneous model for: (a) D = 4.26 mm, (b) D = 2.01 mm.

Fig. 5. The effect of the presence or absence of the thin liquid film on the frictional pressure drop. (a) D = 2.01 mm, (b) 1.1 mm.

Fig. 6. Effect of liquid film roughness on the frictional pressure drop: (a) D= 1.1 mm, (b) D= 2.01 mm.

Up dp/dz

z    y   m        D/2

f     ρl g    i

Figure 1 Thin film model

liquid          vapour

Wall

Tube centreline

(a) D = 2.01 mm

(b) D = 1.1 mm

Figure 2 Total pressure drop as a function of exit quality as predicted by 3-zone and homogeneous pressure drop models at 8 bar; (a) D = 2.01 mm, (b) D = 1.1 mm.

(a) D = 4.26 mm

(b) D = 2.88 mm

(c) D = 2.01 mm

(d) D = 1.1 mm

(e) D = 0.52 mm

Figure 3 Comparison of current pressure drop model with data for the different tube diameters at x < 0.6: (a) 4.26 mm, (b) 2.88 mm, (c) 2.01 mm, (d) 1.1 mm and (e) 0.52 mm.

(a) D = 4.26 mm

(b) D = 2.01 mm

Figure 4 The three zone pressure drop model versus the homogeneous model for; (a) D = 4.26 mm, (b) D = 2.01 mm.

(a) D = 2.01 mm

(b) D = 1.1 mm

Figure 5. The effect of the presence or absence of the thin liquid film on the frictional pressure drop. (a) D = 2.01 mm, (b) 1.1 mm

(a) D = 1.1 mm

(b) D = 2.01 mm

Figure 6. Effect of liquid film roughness on the frictional pressure drop: (a) D= 1.1 mm, (b) D= 2.01 mm.

Dereje Shiferaw received his MSc in sustainable energy engineering in 2004 from the Royal Institute of Technology (Sweden) and his PhD from Brunel University (UK) in 2008. His graduate work at KTH included film boiling of subcooled nanofluids for reactor safety applications, where  he received best thesis award from the Swedish Centre for Nuclear Research. His PhD research involved flow boiling of refrigerants in small to micro tubes- an experimental and theoretical study of two phase flow patterns, pressure drop and heat transfer in macro- and micro-scales. Dr. Shiferaw received the 2009, Ted Perry Memorial Award from Institute of Refrigeration. His research interests include single and two phase flow heat transfer in microchannels and their applications, heat transfer enhancement technologies, application of nanofluids for cooling and quenching of extreme temperatures, sustainable power generation and utilisation.

Mohamed Mahmoud graduated in 1998 from the Mechanical Engineering Department, Faculty of Engineering, Zagazig University, Egypt. He is a lecturer assistant in the Environmental Engineering Department in the same university since 1999. He received his MSc in 2004 in the field of biomass combustion from Zagazig University. Currently, he is a PhD student in the School of Engineering and Design, Brunel University (UK) where his  studies include single and two-phase flow heat transfer, pressure drop and flow visualization in mini/micro-channels.

Tassos G. Karayiannis is a professor of thermal engineering in the School of Engineering and Design of Brunel University, where he is co-director of the Centre for Energy and Built Environment Research (CEBER). He obtained a BSc in Mechanical Engineering from City University (UK) in 1981 and a PhD from the University of Western Ontario (Canada) in 1986. He has carried out research in single-phase heat transfer, enhanced heat transfer and thermal systems.  He has been involved with research in two-phase flow and heat transfer for about 20 years. He is a fellow of the Institution of Mechanical Engineers and the Institute of Energy.

David Kenning, MA, PhD, CEng, MIMechE, graduated in Mechanical Sciences from Cambridge University in 1957 and worked for the UK Atomic Energy Authority for three years before returning to Cambridge to start his career of research on multiphase flows and boiling heat transfer. He joined Oxford University in 1963 and was a University Lecturer in Engineering Science and Tutorial Fellow of Lincoln College from 1967 until his official retirement in 2003. He then joined the research group of Professor Tassos Karayiannis as a Visiting Professor, first at London South Bank University and now at Brunel University.